## Slide 1: Row dimming artifact

## Slide 2: Row Dimming Artifact

## Slide 3: 20220518 194535 WAC MTF TARGET 3X3 WHITE 0.5X on Axis (No correction)

## Slide 4: 20220518 194535 WAC MTF TARGET 3X3 WHITE 0.5X on Axis (Dark Corrected)

## Slide 5: 20220518 194535 WAC MTF TARGET 3X3 WHITE 0.5X on Axis (PF Corrected)

## Slide 6: 20220518 194535 WAC MTF TARGET 3X3 WHITE 0.5X on Axis (Dark + PF Corrected)

## Slide 8: Plotting across Unsaturated Source
Some notes:
CMAP for Image is reversed
These are dark+pf corrected images
Exposure time is in ms
This is for 3x3 White 0.5x

## Slide 9: Are we also seeing Crosstalk?